| SUPPLY; 79 RESET. BATTERY PROBLEM; 79 CYCLE. A FAULT; 79 LOCKOUT. B FAULT; ABOVE MIN TRIP. C FAULT; COLD LOAD SCHEME ON. GROUND; REVERSE POWER. SEF; VAY ON. FAST CURVE; VBY ON. DELAY CURVE; VCY ON. HIGH CURRENT; VAZ ON. OVER/UNDER FREQUENCY; VBZ ON. OVER/UNDER VOLTAGE; VCZ ON. | GROUND ENABLED. RECLOSE ENABLED. REMOTE ENABLED. ALT SETTINGS. FAST CURVE ENABLED. PUSH BUTTONS LOCKED. | HOT LINE TAG. AUX 1. AUX 2. AUX 3. RECLOSER CLOSED CLOSE. RECLOSER OPEN TRIP. |
| --- | --- | --- |