| CONTROL ENABLED | AC SUPPLY | BATTERY PROBLEM | LOW PRESSURE | TRIP | FAST CURVE | HIGH CURRENT | UNDER FREQ. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| RESET | CYCLE | LOCKOUT | A | B | C | EF / G | SEF |
| RECLOSING STATE |  |  | FAULT TYPE |  |  |  |  |

| PROTECTION ENABLED; LIVE LINE ENABLED. RECLOSE ENABLED; ALTERNATE SETTINGS. EARTH FAULT ENABLED; WAKE UP. SEF ENABLED; RECLOSER CLOSED CLOSE. REMOTE ENABLED (press for 3 sec); RECLOSER CLOSED CLOSE. | Do Not Use. XXX. CLOSED. OPEN. |
| --- | --- |