SEL-487B-0 Worksheets

Use these worksheets in conjunction with Section 1: System Configuration Guideline and Application Examples in the SEL-487B-0 Applications Handbook.

# Protection Functions Selection

Use Table 1 to determine which protection functions are to be used and enabled.

Use Table 2 to outline additional functions to be implemented with SELogic.

Table 1: Standard Protection Functions

| Protection Function | Selection |  | Comments |
| --- | --- | --- | --- |
| CT ratio mismatch smaller than 10:1 | Y | N |  |
| Circuit breaker status logic | Y | N |  |
| Disconnect monitor logic | Y | N |  |
| Differential protection | Y | N |  |
| Dynamic zone selection logic | Y | N |  |
| Sensitive differential protection | Y | N |  |
| Zone supervision logic | Y | N |  |
| Zone-switching supervision logic | Y | N |  |
| Coupler security logic | Y | N |  |
| Circuit breaker failure protection | Y | N |  |
| Instantaneous overcurrent protection | Y | N |  |
| Time overcurrent protection | Y | N |  |
| Phase voltage elements | Y | N |  |
| Zero- or negative-sequence voltage elements | Y | N |  |

Table 2: User-Defined Functions

Identify logic functions that are not part of the standard logic in the relay

1.

2.

3.

4.

5.

6.

7.

8.

9.

10.

11.

12.

# Number of SEL-487B Relays

Insert specifications of the bus system to be protected into Table 3. Then use Table 4 to determine how many relays are required.

Table 3: Input Bus Topology Parameters

| Number of per-phase CTs at the station = Number of current channels required = |  |
| --- | --- |
| Number of per-phase bus sections at the station = Number of bus-zones required = |  |

Table 4: Determine Number of SEL-487B-0 Relays

| Number of Relays | Three-Phase Terminals | Current Channels | Three-Phase Bus-Zones |
| --- | --- | --- | --- |
| 1 | 6 | 18 | 2 |
| 2 | 9 | 27 | 3 |
| 3 | 18 | 54 | 6 |

# Number of SEL-487B I/O Boards

Use Table 5 to determine the number of inputs required for your bus topology. For more information, see “Control Inputs” in “Shared Configuration Attributes” in section 2 of the SEL-487B-0 User’s Guide. See “Number of Relays and I/O Boards” in Application 1 in section 1 of the SEL-487B-0 Applications Handbook for an example on how to identify relay inputs.

Use Table 6 to determine how many outputs are required. For more information, see “Control Outputs” in “Shared Configuration Attributes” in section 2 of the SEL-487B-0 User’s Guide.

Use Table 7 to determine how many interface boards (INT4) are required, if any.

Table 5: Number of Relay Inputs

| Number of disconnect monitoring logics = |  | • 2 = | Number of relay inputs required (disconnect) = |  |
| --- | --- | --- | --- | --- |
| Other inputs required = |  |  | + |  |
|  |  |  | Total inputs required = |  |

Table 6: Number of Relay Output Contacts

| High-Speed, High Interrupting Output Contacts Required: |  |
| --- | --- |
| Standard Output Contacts Required: |  |

Table 7: Main Board and Interface Board Contacts

|  | Inputs |  | Outputs |  |
| --- | --- | --- | --- | --- |
|  | Grouped | Independent | Standard | High-Speed, High-Current Interrupt |
| Main Board | 2 | 5 | 8 | 0 |
| High Speed Interface Board | 18 | 6 | 2 | 6 |
| Standard Interface Board | 18 | 6 | 8 | 0 |

1 Main board per relay.

7U chassis size supports a maximum of two optional Interface boards.

9U chassis size supports a maximum of four optional Interface boards.

# Input-to-Relay Function Allocation and Alias Assignment

Table 8: CT-to-Analog Channel Allocation, and CT Alias Assignment

| Analog Channel | Terminal | Alias |
| --- | --- | --- |
| I01 |  |  |
| I02 |  |  |
| I03 |  |  |
| I04 |  |  |
| I05 |  |  |
| I06 |  |  |
| I07 |  |  |
| I08 |  |  |
| I09 |  |  |
| I10 |  |  |
| I11 |  |  |
| I12 |  |  |
| I13 |  |  |
| I14 |  |  |
| I15 |  |  |
| I16 |  |  |
| I17 |  |  |
| I18 |  |  |

Table 9: Bus-Zone Alias Assignment

| Bus-Zone Name | Description | Alias |
| --- | --- | --- |
| BZ1 |  |  |
| BZ2 |  |  |
| BZ3 |  |  |
| BZ4 |  |  |
| BZ5 |  |  |
| BZ6 |  |  |

Table 10: Input-to-Logic Allocation and Alias Assignment—Main Board (100)

| Input | Description | Alias |
| --- | --- | --- |
| IN101* |  |  |
| IN102* |  |  |
| IN103* |  |  |
| IN104* |  |  |
| IN105* |  |  |
| IN106 |  |  |
| IN107 |  |  |

*Independent input

Table 11: Input-to-Logic Allocation and Alias Assignment—Interface Board 1 (200)

| Input | Description | Alias |
| --- | --- | --- |
| IN201* |  |  |
| IN202* |  |  |
| IN203* |  |  |
| IN204 |  |  |
| IN205 |  |  |
| IN206 |  |  |
| IN207 |  |  |
| IN208 |  |  |
| IN209 |  |  |
| IN210 |  |  |
| IN211 |  |  |
| IN212 |  |  |
| IN213* |  |  |
| IN214* |  |  |
| IN215* |  |  |
| IN216 |  |  |
| IN217 |  |  |
| IN218 |  |  |
| IN219 |  |  |
| IN220 |  |  |
| IN221 |  |  |
| IN222 |  |  |
| IN223 |  |  |
| IN224 |  |  |

*Independent input

Table 12: Input-to-Logic Allocation and Alias Assignment—Interface Board 2 (300)

| Input | Description | Alias |
| --- | --- | --- |
| IN301* |  |  |
| IN302* |  |  |
| IN303* |  |  |
| IN304 |  |  |
| IN305 |  |  |
| IN306 |  |  |
| IN307 |  |  |
| IN308 |  |  |
| IN309 |  |  |
| IN310 |  |  |
| IN311 |  |  |
| IN312 |  |  |
| IN313* |  |  |
| IN314* |  |  |
| IN315* |  |  |
| IN316 |  |  |
| IN317 |  |  |
| IN318 |  |  |
| IN319 |  |  |
| IN320 |  |  |
| IN321 |  |  |
| IN322 |  |  |
| IN323 |  |  |
| IN324 |  |  |

*Independent input

Table 13: Input-to-Logic Allocation and Alias Assignment—Interface Board 3 (400)

| Input | Description | Alias |
| --- | --- | --- |
| IN401* |  |  |
| IN402* |  |  |
| IN403* |  |  |
| IN404 |  |  |
| IN405 |  |  |
| IN406 |  |  |
| IN407 |  |  |
| IN408 |  |  |
| IN409 |  |  |
| IN410 |  |  |
| IN411 |  |  |
| IN412 |  |  |
| IN413* |  |  |
| IN414* |  |  |
| IN415* |  |  |
| IN416 |  |  |
| IN417 |  |  |
| IN418 |  |  |
| IN419 |  |  |
| IN420 |  |  |
| IN421 |  |  |
| IN422 |  |  |
| IN423 |  |  |
| IN424 |  |  |

*Independent input

Table 14: Input-to-Logic Allocation and Alias Assignment—Interface Board 4 (500)

| Input | Description | Alias |
| --- | --- | --- |
| IN501* |  |  |
| IN502* |  |  |
| IN503* |  |  |
| IN504 |  |  |
| IN505 |  |  |
| IN506 |  |  |
| IN507 |  |  |
| IN508 |  |  |
| IN509 |  |  |
| IN510 |  |  |
| IN511 |  |  |
| IN512 |  |  |
| IN513* |  |  |
| IN514* |  |  |
| IN515* |  |  |
| IN516 |  |  |
| IN517 |  |  |
| IN518 |  |  |
| IN519 |  |  |
| IN520 |  |  |
| IN521 |  |  |
| IN522 |  |  |
| IN523 |  |  |
| IN524 |  |  |

*Independent input

Table 15: Alias Names to the Relay Logic Assignment

| Logic Relay Word Bit | Description | Alias |
| --- | --- | --- |

# Relay Logic-to-Output Contact Allocation and Output Contact Alias Assignments

Table 16: Output Alias Assignment—Main Board (100)

| Output Contact | Description | Alias |
| --- | --- | --- |
| OUT101 |  |  |
| OUT102 |  |  |
| OUT103 |  |  |
| OUT104 |  |  |
| OUT105 |  |  |
| OUT106 |  |  |
| OUT107* | Differential enable pushbutton | TEST |
| OUT108* | Self-diagnostic relay alarm | ALARM |

*Default settings

Table 17: Output Alias Assignment—Interface Board 1 (200)

| Output Contact | Description | Alias |
| --- | --- | --- |
| OUT201* |  |  |
| OUT202* |  |  |
| OUT203* |  |  |
| OUT204* |  |  |
| OUT205* |  |  |
| OUT206* |  |  |
| OUT207 |  |  |
| OUT208 |  |  |

*High-speed, high-interrupting outputs (if high-speed interface board is ordered)

Table 18: Output Alias Assignment—Interface Board 2 (300)

| Output Contact | Description | Alias |
| --- | --- | --- |
| OUT301* |  |  |
| OUT302* |  |  |
| OUT303* |  |  |
| OUT304* |  |  |
| OUT305* |  |  |
| OUT306* |  |  |
| OUT307 |  |  |
| OUT308 |  |  |

*High-speed, high-interrupting outputs (if high-speed interface board is ordered)

Table 19: Output Alias Assignment—Interface Board 3 (400)

| Output Contact | Description | Alias |
| --- | --- | --- |
| OUT401* |  |  |
| OUT402* |  |  |
| OUT403* |  |  |
| OUT404* |  |  |
| OUT405* |  |  |
| OUT406* |  |  |
| OUT407 |  |  |
| OUT408 |  |  |

*High-speed, high-interrupting outputs (if high-speed interface board is ordered)

Table 20: Output Alias Assignment—Interface Board 4 (500)

| Output Contact | Description | Alias |
| --- | --- | --- |
| OUT501* |  |  |
| OUT502* |  |  |
| OUT503* |  |  |
| OUT504* |  |  |
| OUT505* |  |  |
| OUT506* |  |  |
| OUT507 |  |  |
| OUT508 |  |  |

*High-speed, high-interrupting outputs (if high-speed interface board is ordered)