| ; |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | • | SUPPLY | • | DELAY CURVE | • | COLD LOAD SCHEME ON |  |
|  | • | BATTERY PROBLEM | • | HIGH CURRENT | • | REVERSE POWER |  |
|  | • | A FAULT | • | OVER/UNDER FREQUENCY | • | VAY ON |  |
|  | • | B FAULT | • | OVER/UNDER VOLTAGE | • | VBY ON |  |
|  | • | C FAULT | • | 79 RESET | • | VCY ON |  |
|  | • | GROUND | • | 79 CYCLE | • | VAZ ON |  |
|  | • | SEF | • | 79 LOCKOUT | • | VBZ ON |  |
|  | • | FAST CURVE | • | ABOVE MIN TRIP | • | VCZ ON |  |

| GROUND ENABLED RECLOSE ENABLED REMOTE ENABLED ALT SETTINGS | FAST CURVE ENABLED PUSH BUTTONS LOCKED HOT LINE TAG AUX 1 | AUX 2 AUX 3 RECLOSER CLOSED CLOSE RECLOSER OPEN TRIP |
| --- | --- | --- |